## Sheet1
Category | ProductCode | ProductDescription | Additional information
COVID-19 Test kits/ Instruments, apparatus used in Diagnostic Testing | 300215 | COVID-19 Test kits | Diagnostic reagents based on immunological reactions
COVID-19 Test kits/ Instruments, apparatus used in Diagnostic Testing | 382100 | Swab and Viral transport medium set | A vial containing a culture media for the maintenance of a viral sample and a cotton tipped swab to collect the sample put up together
COVID-19 Test kits/ Instruments, apparatus used in Diagnostic Testing | 382200 | COVID-19 Test kits | Diagnostic reagents based on polymerase chain reaction (PCR) nucleic acid test.
COVID-19 Test kits/ Instruments, apparatus used in Diagnostic Testing | 902780 | COVID-19 Diagnostic Test instruments and apparatus | Instruments used in clinical laboratories for In Vitro Diagnosis. Colorimetric end tidal CO2 detector, sizes compatible with child and adult endotracheal tube. Single use.
Disinfectants and sterilisation products | 220710 | Alcohol solution | Undenatured, containing by volume 80% or more ethyl alcohol
Disinfectants and sterilisation products | 220890 | Alcohol solution | Undenatured, 75% ethyl alcohol
Disinfectants and sterilisation products | 284700 | Hydrogen peroxide in bulk | Bulk H2O2 whether or not with solidified with urea.
Disinfectants and sterilisation products | 300490 | Hydrogen peroxide presented as a medicament | H2O2 put up for internal or external use as a medicine, including as an antiseptic for the skin.
Disinfectants and sterilisation products | 380894 | Hand sanitizer | A liquid or gel generally used to decrease infectious agents on the hands, alcohol-based type. Put up in forms or packings for retail sale such as rubs and wipes impregnated with alcohol or other disinfectants. H2O2 put up as cleaning solutions for surfaces or apparatus. Put up in forms or packings for retail sale as disinfectants or as disinfectant preparations, containing alcohol, benzalkonium chloride solution or peroxyacids, or other disinfectants.
Disinfectants and sterilisation products | 841920 | Medical, surgical or laboratory sterilisers, including autoclaves | Function using steam or boiling water
Other Medical Consumables | 280440 | Medical oxygen | Medical oxygen has as a minimum 82% pure oxygen, is free from any contamination, and is generated by an oil-free compressor. This subheading includes both compressed oxygen supplied in cylinders and liquid oxygen.
Other Medical Consumables | 300510 | Surgical tape | Self-adhesive, hypoallergenic. Transparent adhesive plasters
Other Medical Consumables | 300590 | Wadding, gauze, bandages, cotton sticks and similar articles | Impregnated or coated with pharmaceutical substances or put up in forms or packings for retail sale for medical use
Other Medical Consumables | 300670 | Conductive/lubricating jelly for use in an ECG or ultrasound | Used between the body and the ECG or ultrasound instruments to reduce the body’s impedance. Lubricant for medical procedures.
Other Medical Consumables | 340111 | Soap | Bar form
Other Medical Consumables | 340120 | Soap | Liquid or powder form
Other Medical Consumables | 392329 | Plastic hazardous waste disposal bags | Disposal bag for bio-hazardous waste, with "Bio Hazard" print, autoclavable polypropylene, 50 or 70 micron thickness
Other Medical Consumables | 392690 | Urine bags | Plastic bags for collecting urine, with outlet tap, with non-return valve
Other Medical Consumables | 481890 | Paper bed sheets | n.e.c. in heading no. 4818
Other Medical Consumables | 901831 | Syringes | with or without needles
Other Medical Consumables | 901832 | Tubular Needles | Tubular metal needles and needles for sutures
Other medical devices and equipment | 732490 | Kidney basins | Shallow kidney-shaped basins made of stainless steel and used for the collection of bodily discharges and other sanitary purposes
Other medical devices and equipment | 841319 | Infusion pump | Infusion pump with or without accessories
Other medical devices and equipment | 901811 | Electrocardiograph | Portable electrocardiographs are normally presented with various accessories
Other medical devices and equipment | 901812 | Ultrasound machines | Portable ultrasound machines are usually imported with their own specifically designed trolley and accessories
Other medical devices and equipment | 901890 | Stethoscopes; intubation kits and forceps; suction pump; | Laryngoscopes. Stethoscopes. Magill intubation forceps, used to guide a tracheal tube into the larynx or a nasogastric tube into the oesophagus under direct vision. Reusable intubation kits. Infusion pump, with or without accessories. Medical suction pumps, used to clear the airway of bodily secretions. Medical drills for vascular access. Single use disposable intubation kits
Other medical devices and equipment | 902212 | Computed tomography (CT) scanners | Uses a rotating X-ray machine to image thin slices of the body to diagnose diseases such as pneumonia.
Other medical devices and equipment | 902519 | Infrared thermometers | For direct reading, not combined with other instruments
Other medical devices and equipment | 902820 | Electronic drop counter, IV fluids | Counts the drops and calculates real-time drop rate
Other Medical related goods | 731100 | Empty medical gas cylinders, portable, for oxygen, fitted with a valve and a pressure and flow regulator | Steel or steel alloy
Other Medical related goods | 761300 | Empty medical gas cylinders, portable, for oxygen, fitted with a valve and a pressure and flow regulator | Aluminium
Other Medical related goods | 842139 | Pressure Swing Adsorption (PSA) oxygen plant for a central oxygen supply system of medical grade oxygen. | Large, onsite, central source of medical grade oxygen that is piped directly to terminal units within patient areas or used to refill cylinders. Plants adsorb nitrogen out of ambient air and filter out contaminants to provide a supply of oxygen that can be used in various oxygen therapy apparatus. They do not act as therapeutic devices themselves, but simply create a supply of oxygen for use in therapeutic devices.
Other Medical related goods | 940290 | Medical or surgical furniture | Includes operating tables, examination tables, hospital beds with mechanical fittings, specially designed tables for instruments, anaesthetic or surgical supplies, and their parts.
Oxygen Therapy equipment and pulse oximeters | 901819 | Pulse oximeters; Multiparametric Patient Monitoring devices | Devices for measuring the oxygen saturation of haemoglobin in arterial blood (SpO2). They use the principle of differential light absorption to determine SpO2 when the sensor (also called a probe) is applied to an area of the body (e.g. a finger, toe or earlobe). Monitoring stations used for the continuous monitoring of multiple vital signs.
Oxygen Therapy equipment and pulse oximeters | 901839 | catheters, Needles, prongs | Nasal prongs (nasal cannulae): nasal cannulae consist of plastic tubes that end in two short tapered prongs that are placed in the nostrils for delivering oxygen. Nasal catheter: a thin, flexible tube that is passed into the nose and ends with its tip in the nasal cavity for delivering oxygen. Includes, among other things:endotracheal tubes (catheters), with or without cuffs; Nasopharyngeal airways (catheters); and Oropharyngeal airways (catheters). Endotracheal tube introducers (bougies or stylets) are also classified here by virtue of Note 2 to Chapter 90.
Oxygen Therapy equipment and pulse oximeters | 901920 | Medical ventilators; CPAP; BiPap; Oxygen concentrators; | Medical ventilators (artificial respiration apparatus). Extracorporeal membrane oxygenation (ECMO). Continuous Positive Airway Pressure (CPAP) units. Bilevel positive airway pressure (BiPap or BPap) units. Oxygen concentrators. Oxygen humidifiers for oxygen therapy applications. Oxygen masks, tents and head boxes. Oxygen Flow spitter.
Oxygen Therapy equipment and pulse oximeters | 902680 | Flowmeter, Thorpe tube for oxygen 0-15L/min | The Thorpe tube flowmeter is composed of inlet and outlet ports, a regulator, a valve and a clear tapered measuring tube. It is suitable for connection with various medical gas sources, such as centralized system, cylinders, concentrators or compressors. Standard (absolute, non-compensated) and pressure-compensated flowmeter versions, suitable for specific flow ranges.
Protective garments and the like | 392620 | Gloves; Face and eye protection; protective garments | Plastic face shields (covering more than the eye area). Plastic gloves. Protective unisex garments made of plastic sheeting, textile reinforced plastics or textile backed plastics.
Protective garments and the like | 401511 | Gloves | Surgical rubber gloves
Protective garments and the like | 401519 | Gloves | Other rubber gloves.
Protective garments and the like | 401590 | Other | Protective unisex garments made of rubber sheeting, textile reinforced rubber or textile backed rubber.
Protective garments and the like | 481850 | Disposable masks and garments | Cellulose/paper masks. Paper or cellulose garments and clothing accessories such as disposable paper hospital gowns, paper shoe covers etc.
Protective garments and the like | 611610 | Gloves | Knitted or crocheted gloves which have been impregnated or covered with plastics or rubber
Protective garments and the like | 621010 | Protective garments for surgical/medical use | Protective garments for surgical/medical use made up of felt or nonwovens whether or not impregnated, coated, covered or laminated (fabrics of heading 56.02 or 56.03). This includes spun-bonded garments.
Protective garments and the like | 621050 | Protective garment for surgical / medical use | Unisex protective garments for surgical/medical use made of woven textiles of that are impregnated, coated, covered or laminated with plastics. Unisex protective garments made of rubberised textile fabrics.
Protective garments and the like | 621600 | Gloves | Textile gloves that are not knitted or crocheted
Protective garments and the like | 630790 | Face and eye protection | Textile face-masks, without a replaceable filter or mechanical parts, including surgical masks and disposable face-masks made of non-woven textiles. This includes the masks known as N95 Particulate Respirators.
Protective garments and the like | 650500 | Other | Disposable hair nets
Protective garments and the like | 900490 | Face and eye protection | Protective spectacles and goggles
Protective garments and the like | 902000 | Face and eye protection | Gas masks with mechanical parts or replaceable filters for protection against biological agents. Also includes such masks incorporating eye protection or facial shields.
Vehicles | 870590 | Mobile clinic vehicles | Mobile clinics (medical) with operating theatre, anaesthetic equipment and other surgical apparatus. Mobile radiological units (e.g., fitted with an examination room, dark room and complete radiological equipment).
Vehicles | 871310 | Wheelchairs | Carriages for disabled persons, not mechanically propelled.
Vehicles | 871390 | Wheelchairs | Carriages for disabled persons, mechanically propelled.